Town of Lake View
Pump Station Capacities

PS # 607
600 E 1st Ave (Intersection of Park St and E 1st Ave)
Wetwell Diameter:  8’
Wetwell Diameter:  15’
Number of Pumps: 2
Pump Capacity:  425 gallons per minute