Town of Latta
Elevated Storage Tanks

Diversified Plastics Tank
100 Diversified Dr, Latta
125,000 gallons

Industrial Tank
1250 Hwy 917, Latta
250,000 gallons

Henry Street Tank (PROPOSED)  *
Henry St, Latta
300,000 gallons

* Once the Henry Street tank is online (expected March 2022), the Diversified Plastics tank will be decommissioned.