Town of Latta
Well Information

Industrial Tank Well
1250 Hwy 917 W, Latta
450 gallons per minute

Bethea St Ext Well
510 Bethea St, Latta
450 gallons per minute