Town of Latta
Pump Station Capacities

| Pump Station | Pump Station | Location | Diameter (ft) | Depth (ft) | # Pumps | Pump Capacity (gpm) | Motor Size (HP) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 683 | Flying J’s | 131 Mill Branch Rd, Latta | 7 | 15 | 2 | 180 | 15 |
| 684 | Industrial Park | 1303 Hwy 917, Latta | 7 | 18 | 2 | 200 | 15 |
| 685 | Edwards St | 220 Edwards St, Latta | X | X | 2 | 280 | 7.5 |
| 686 | Bethea St | 510 Bethea St, Latta | X | X | 2 | 242 | 7.5 |
| 687 | Academy St | 525 Academy St, Latta | 5 | 25 | 2 | 115 | 5 |
| 688 | Hwy 301 | 4593 Hwy 301, Latta | 6 | 15 | 2 | 180 | 15 |
| 689 | Munn St | 480 Munn St, Latta | X | X | 2 | 242 | 7.5 |
| 691 | Wilco | 1504 Hwy 38, Latta (front) | X | X | 2 | 129 | 15 |